|  |  |  |  |
| --- | --- | --- | --- |
| Mil Spec Number | NSN Number | Description | Connectors Used |
| M29184/10 | No NSN listed | Cable Assembly, Pigtail, 60 Amp, 10FT | MS90556C32412P |
| M29184/11 | No NSN listed | Cable Assembly, Pigtail, 40 Amp, 10FT | MS90556C28412P |
| M29184/12 | No NSN listed | Cable Assembly, Pigtail, 20 Amp, 10FT | MS17344R24N10P |
| M29184/13 | No NSN listed | Cable Assembly, Pigtail, 20 Amp, 10FT | MS17344R22N2P |
| M29184/14-01 | No NSN listed | Cable Assembly, 100 Amp, 50FT | MS90556C44406P, MS90557C44406S |
| M29184/14-02 | No NSN listed | Cable Assembly, 100 Amp, 100FT | MS90556C44406P, MS90557C44406S |
| M29184/16-01 | No NSN listed | Cable Assembly, 40 Amp, 50FT | MS90556C28412P, MS90557C28412S |
| M29184/16-02 | No NSN listed | Cable Assembly, 40 Amp, 50FT | MS90556C28412P, MS90557C28412S |
| M29184/2 | 6150-01-220-5587, 6150-01-256-6410 | Cable Assembly, 100 Amp, 50FT | MS90556C44412P, MS90557C44412S |
| M29184/3-01 | 6150-01-262-4207 | Cable Assembly, 60 Amp, 50FT | MS90556C32412P, MS90557C32412S |
| M29184/3-02 | 6150-01-220-5588 | Cable Assembly, 60 Amp, 100FT | MS90556C32412P, MS90557C32412S |
| M29184/4-01 | No NSN listed | Cable Assembly, 30 Amp, 50FT | MS90556C28412P, MS90557C28412S |
| M29184/4-02 | 6150-01-220-5590 | Cable Assembly, 30 Amp, 100FT | MS90556C28412P, MS90557C28412S |
| M29184/5-01 | No NSN listed | Cable Assembly, 20 Amp, 50FT | MS17344R24N10P, MS17344R24N10S |
| M29184/5-02 | 6150-01-220-5591 | Cable Assembly, 20 Amp, 100FT | MS17344R24N10P, MS17344R24N10S |
| M29184/6-01 | No NSN listed | Cable Assembly, 20 Amp, 50FT | MS17344R22N2P, MS17344R22N2S |
| M29184/6-02 | 6150-01-221-1349 | Cable Assembly, 20 Amp, 100FT | MS17344R22N2P, MS17344R22N2S |
| M29184/7 | 6150-01-220-5586 | Cable Assembly, Pigtail, 100 Amp, 50FT | MS90557C44412S |
| M29184/8-01 | No NSN listed | Cable Assembly, Pigtail, 60 Amp, 50FT | MS90557C32412S |
| M29184/8-02 | 6150-01-220-5589 | Cable Assembly, Pigtail, 60 Amp, 100FT | MS90557C32412S |
| M29184/9 | No NSN listed | Cable Assembly, Pigtail, 100 Amp, 10FT | MS90556C44412P |
| M29184/1-02 | 6150-01-258-1202 | Cable Assembly, Power, 350 Amp, 100FT | N/A |
| M29184/1-01 | 6150-01-258-8278 | Cable Assembly, Power, 350 Amp, 50FT | N/A |